## Present Allocation Method_SO
| ACTUAL GENERATION (MW) |  | 3609.6
| AVAILABLE GENERATION CAPACITY (MW) |  | 8060
COMMENTS
| INTERNATIONAL SUPPLIES |  | 223 | Fixed Bilateral Agreements
| AUXILLIARY CONSUMPTION |  | 40 | Station Auxiliaries at power stations
| SPINNING RESERVES |  | 210 | Depends on the availability of machines on free governor control;
| STATION SERVICES & STRATEGIC NODES FOR VOLTAGE CONTROL |  | 35 | Consumption at transmission stations
| EASTERN AXIS |  | 756 | B1T can take up to 500MW; Balance of 450MW would be evacuated through Benin
| BENIN |  | 282 | Voltage control; Covering Ado-Ekiti, Akure, Asaba, Benin, Warri
| OSOGBO |  | 184
| MAIDUGURI |  | 10 | Voltage Control
| KANO |  | 10 | International Airport
| LAGOS (IKEJA) |  | 550 | Economic Reasons
| LAGOS (EKO) |  | 450 | Economic Reasons
| ABUJA |  | 300 | Federal Capital Territory and Part of Nassarawa
|  | TOTAL | 3050
| Capacity for Load Allocation amongst Discos |  | 559.6
S/No | DISTRIBUTION COMPANY | LOAD ALLOCATION BASED ON ACTUAL GENERATION (MW) |  | Methodology of Calculation for other discos (or load centers)
1 | ABUJA | According to Exemption |  | 1. Subtract total Exempted Load (Le) from Projected Generation (Gp) to get Allocation Load (La)
2 | BENIN | According to Exemption |  | 2. Divide "Allocation Load (La)" by Peak Load of the Zone* (Lz1)
3 | EKO | According to Exemption |  | 3. Peak Load carried by Disco/Load Center is shared according to its historic load picked as Peak Load carried that Disco/Load Center
4 | ENUGU | According to Exemption
5 | IBADAN
6 | lKEJA | According to Exemption
7 | JOS
8 | KADUNA
9 | KANO
10 | PORT HARCOURT | According to Exemption
11 | YOLA
Note on B23: llawal: FCT, BENUE, KOGI, NIGER, NASARAWA
Note on B24: llawal: DELTA, EDO, EKITI, ONDO
Note on B25: llawal: LAGOS SOUTH
Note on B26: llawal: ABIA, ANAMBRA, ENUGU, EBONYI, IMO
Note on B27: llawal: OYO, OGUN, OSUN, KWARA
Note on B28: llawal: LAGOS NORTH
Note on B29: llawal: PLATEAU, BAUCHI, GOMBE
Note on B30: llawal: KADUNA, SOKOTO, KEBBI, ZAMFARA
Note on B31: llawal: KATSINA, KANO, JIGAWA
Note on B32: llawal: BAYELSA, RIVERS, C/RIVER, A/IBOM
Note on B33: llawal: ADAMAWA. BORNO, TARABA, YOBE

## load_allocation_23042012
| ACTUAL GENERATION (MW) |  |  | 3406
| AVAILABLE GENERATION CAPACITY (MW) |  |  | 5125
| Exemption 1 |  |  |  | COMMENT
| INTERNATIONAL SUPPLIES |  |  | 160 | Fixed Bilateral Agreements
| AUXILLIARY CONSUMPTION |  |  | 170.3 | Station Auxiliaries at power stations
| SPINNING RESERVES |  |  | 220 | Depends on the availability of machines on free governor control; dependent on dynamics of the system and availability of generators
| STATION SERVICES & STRATEGIC NODES FOR VOLTAGE CONTROL |  |  | 130 | Consumption at transmission stations
|  | TOTAL |  | 680.3
| Capacity for Load Allocation amongst Discos |  |  | 2725.7
S/No | DISTRIBUTION COMPANY | PERCENT LOAD ALLOCATION BASED ON MYTO (%) | LOAD ALLOCATION BASED ON PERCENT (MW) | LOAD ALLOCATION BASED ON PERFORMANCE INDICATORS | [7 empty] | FINAL LOAD ALLOCATION (MW)
|  |  |  | Loss Reduction (% Points) Weight: 40% | Load Allocation (MW) | Metering (%); Weight: 40% | Load Allocation (MW) | Network Expansion (%); Weight: 20% | Load Allocation (MW) | Customer Satisfaction Index*; Weight: 0% | Load Allocation (MW)
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | ABUJA | 11.5% | 313.4555 | 5.6 | 0 | 52.3 | 0 | 61.3 | 0 | 0 | 0 | 313.4555 | 300 | 313.4555 |  | 290.5
2 | BENIN | 9% | 245.313 | 4.9 | 0 | 48.2 | 0 | 64.2 | 0 | 0 | 0 | 245.313 | 282 | 282 |  | 173
3 | EKO | 11% | 299.827 | 5.2 | 0 | 46.7 | 0 | 78.7 | 0 | 0 | 0 | 299.827 | 450 | 450 | 20.81% | 567.2
4 | ENUGU | 9% | 245.313 | 5.1 | 0 | 39.9 | 0 | 57.4 | 0 | 0 | 0 | 245.313 | 400 |  |  | 407.45
5 | IBADAN | 13% | 354.341 | 3.9 | 0 | 30.2 | 0 | 47.1 | 0 | 0 | 0 | 354.341 | NLA | 354.341 |  | 129.8
6 | lKEJA | 15% | 408.855 | 4.5 | 0 | 46.7 | 0 | 74.2 | 0 | 0 | 0 | 408.855 | 550 | 550 | 20.02% | 545.8
7 | JOS | 5.5% | 149.9135 | 3.4 | 0 | 30.1 | 0 | 76.3 | 0 | 0 | 0 | 149.9135 | NLA | 130 |  | 98.87
8 | KADUNA | 8% | 218.056 | 2.9 | 0 | 32.5 | 0 | 42.3 | 0 | 0 | 0 | 218.056 | NLA | 218.056 |  | 208.24
9 | KANO | 8% | 218.056 | 3.5 | 0 | 30.2 | 0 | 44.6 | 0 | 0 | 0 | 218.056 | NLA | 218.056 |  | 303.51
10 | PORT HARCOURT | 6.5% | 177.1705 | 4.6 | 0 | 43.9 | 0 | 65.8 | 0 | 0 | 0 | 177.1705 | 356 | 756 |  | 201.27
11 | YOLA | 3.5% | 95.3995 | 3.5 | 0 | 33.4 | 0 | 36.6 | 0 | 0.01 | 0 | 95.3995 | NLA | 95.3995 |  | 33.91
| Total | 100% | 2725.7 | [8 empty] | 2725.7 |  |  |  | 2959.55
ALLOCATION BALANCED
| EASTERN AXIS |  | 725
| BENIN |  | 282 | For voltage control
| OSOGBO |  | 183 | For frequency control
| Diff of Peak (less Exemptions) and % Allocation |  | 0
| Exemptions |  | 680.3
NOTES
* Baseline value for the Customer Satisfaction Index has is yet to be established.
When it is done, it shall carry a weight of 15% of the Performance Indicators.
All figures above are examples used for illustration purposes only.
NERC publishes daily Actual Peak Generation (MW), which could be used for the above model.
Note on B17: llawal: FCT, BENUE, KOGI, NIGER, NASARAWA
Note on B18: llawal: DELTA, EDO, EKITI, ONDO
Note on B19: llawal: LAGOS SOUTH
Note on B20: llawal: ABIA, ANAMBRA, ENUGU, EBONYI, IMO
Note on B21: llawal: OYO, OGUN, OSUN, KWARA
Note on B22: llawal: LAGOS NORTH
Note on B23: llawal: PLATEAU, BAUCHI, GOMBE
Note on B24: llawal: KADUNA, SOKOTO, KEBBI, ZAMFARA
Note on B25: llawal: KATSINA, KANO, JIGAWA
Note on B26: llawal: BAYELSA, RIVERS, C/RIVER, A/IBOM
Note on B27: llawal: ADAMAWA. BORNO, TARABA, YOBE

## load_allocation_yedc&jedc (hidden)
| ACTUAL GENERATION (MW) |  | 3609.6
| AVAILABLE GENERATION CAPACITY (MW) |  | 5125
FORECASTED GENERATION CAPACITY (MW)
COMMENTS
| INTERNATIONAL SUPPLIES |  | 223 | Fixed Bilateral Agreements
| AUXILLIARY CONSUMPTION |  | 40 | Station Auxiliaries at power stations
| SPINNING RESERVES |  | 80 | Depends on the availability of machines on free governor control;
| STATION SERVICES & STRATEGIC NODES FOR VOLTAGE CONTROL |  | 35 | Consumption at transmission stations
| EASTERN AXIS |  | 530 | B1T can take up to 500MW; Balance of 450MW would be evacuated through Benin
| BENIN |  | 282 | For voltage control; Covering Ado-Ekiti, Akure, Asaba, Benin, Warri
| OSOGBO |  | 150 | For manual frequency control
| MAIDUGURI |  | 10 | System overvoltage on Damasak/Dissa
| LAGOS (IKEJA) |  | 500 | Economic Reasons
| LAGOS (EKO) |  | 400 | Economic Reasons
| IBADAN |  | 150 | Economic Reasons
| KANO |  | 200 | Economic Reasons
| KADUNA |  | 150 | Economic Reasons
| ABUJA |  | 300 | Federal Capital City
|  | TOTAL | 3050
| Capacity for Load Allocation amongst Discos |  | 559.6
S/No | DISTRIBUTION COMPANY | 10% LOAD ALLOCATION BASED ON ACTUAL GENERATION (MW) | LOAD ALLOCATION BASED ON PERFORMANCE INDICATORS | [9 empty] | FINAL LOAD ALLOCATION (MW)
|  |  | Loss Reduction (% Points); Weight: 40% |  | Metering (%); Weight: 30% |  | Network Expansion (%); Weight: 20% |  | Customer Satisfaction Index; Weight: 0% |  | Distribution Capacity (MVA); Weight: 10%
|  |  | 156.688 | 156.688 | 117.516 | 117.516 | 78.344 | 78.344 | 0 | #DIV/0! | 39.172
1 | ABUJA | 0 | 4.6 | 16.6844 | 4.31 | 11.6106 | 2.73 | 6.3902 |  | #DIV/0! | 1605 | 3.6147 | 38.2998
2 | BENIN | 0 | 3.9 | 14.1454 | 3.9667 | 10.6857 | 3.1 | 7.2562 |  | #DIV/0! | 1662 | 3.743 | 35.8305
3 | EKO | 0 | 5.2 | 18.8606 | 4.9433 | 13.3167 | 3.43 | 8.0287 |  | #DIV/0! | 1637 | 3.6867 | 43.8928
4 | ENUGU | 0 | 3 | 10.8811 | 3.2133 | 8.6563 | 2.64 | 6.1795 |  | #DIV/0! | 1684 | 3.7926 | 29.5095
5 | IBADAN | 55.96 | 4.1 | 14.8709 | 4.0367 | 10.8743 | 2.91 | 6.8115 |  | #DIV/0! | 1602 | 3.6079 | 92.1246
6 | lKEJA | 0 | 3.5 | 12.6946 | 3.6767 | 9.9045 | 3.03 | 7.0924 |  | #DIV/0! | 1593.5 | 3.5888 | 33.2803
7 | JOS | 55.96 | 3.6 | 13.0573 | 3.8833 | 10.4612 | 3.45 | 8.0755 |  | #DIV/0! | 1692 | 3.8106 | 91.3647
8 | KADUNA | 0 | 2.9 | 10.5184 | 3.24 | 8.7282 | 2.92 | 6.8349 |  | #DIV/0! | 1366.9 | 3.0784 | 29.1599
9 | KANO | 0 | 4.3 | 15.5963 | 4.29 | 11.5567 | 3.27 | 7.6542 |  | #DIV/0! | 1403.6 | 3.1611 | 37.9683
10 | PORT HARCOURT | 0 | 3.7 | 13.42 | 3.7433 | 10.0841 | 2.83 | 6.6242 |  | #DIV/0! | 1640.3 | 3.6942 | 33.8225
11 | YOLA | 55.96 | 4.4 | 15.959 | 4.32 | 11.6376 | 3.16 | 7.3967 |  | #DIV/0! | 1507 | 3.394 | 94.3472
| 55% OF CAPACITY FOR ALLOCATION | 167.88 | [10 empty] | 559.6
| % of total available gen capacity (MW) | 4.6509 | [10 empty] | ALLOCATION BALANCED
| Diff of Peak and 55% Allocation | 391.72
[10 empty] | % Allocation Based on Cust.population (against Peak Cap) | % Allocation Based on Cust.population (against Available Cap) |  | % Allocation Based on Customer Population |  | %tage Network Expansion
|  |  | 1.2 |  | 0.0431 |  | 0.61 |  | 0.10147 | 39.7483 | #REF! |  | 1.254 | 0.32013 | #REF! | 1.254
|  |  | 0.8 |  | 0.039667 |  | 0.64 |  | 0.13682 | 53.5956 | #REF! |  | 1.0885 | 0.27787 | #REF! | 1.0885
|  |  | 1.1 |  | 0.049433 |  | 0.79 |  | 0.061713 | 24.1741 | #REF! |  | 1.0385 | 0.2651 | #REF! | 1.0385
|  |  | 0.9 |  | 0.032133 |  | 0.57 |  | 0.10287 | 40.2967 | #REF! |  | 0.66427 | 0.16958 | #REF! | 0.66427
|  |  | 1 |  | 0.040367 |  | 0.6 |  | 0.18391 | 72.0411 | #REF! |  | 1.7448 | 0.44543 | #REF! | 57.7048
|  |  | 0.9 |  | 0.036767 |  | 0.74 |  | 0.092827 | 36.3621 | #REF! |  | 0.89038 | 0.2273 | #REF! | 0.89038
|  |  | 0.9 |  | 0.038833 |  | 0.76 |  | 0.068912 | 26.9942 | #REF! |  | 0.71702 | 0.18304 | #REF! | 56.677
|  |  | 0.6 |  | 0.0324 |  | 0.52 |  | 0.066362 | 25.9953 | #REF! |  | 0.26278 | 0.067084 | #REF! | 0.26278
|  |  | 0.6 |  | 0.0429 |  | 0.55 |  | 0.066475 | 26.0398 | #REF! |  | 0.36864 | 0.094109 | #REF! | 0.36864
|  |  | 0.5 |  | 0.037433 |  | 0.46 |  | 0.057514 | 22.5292 | #REF! |  | 0.19397 | 0.049517 | #REF! | 0.19397
|  |  | 0.8 |  | 0.0432 |  | 0.51 |  | 0.061124 | 23.9436 | #REF! |  | 0.42202 | 0.10774 | #REF! | 56.382
|  |  | 9.3 |  | 0.43623 |  | 6.75 |  | 1 | 391.72 | #REF! |  | 8.6449 |  | #REF! | 176.5249
|  |  | 0.84545 |  | 0.039658 |  | 0.61364 |  | 0.090909 | 35.6109 | #REF! |  | 24.4511 |  | #REF! | 16.0477
Note on D26: whyem:
Note on B27: llawal: FCT, BENUE, KOGI, NIGER, NASARAWA
Note on B28: llawal: DELTA, EDO, EKITI, ONDO
Note on B29: llawal: LAGOS SOUTH
Note on B30: llawal: ABIA, ANAMBRA, ENUGU, EBONYI, IMO
Note on B31: llawal: OYO, OGUN, OSUN, KWARA
Note on B32: llawal: LAGOS NORTH
Note on B33: llawal: PLATEAU, BAUCHI, GOMBE
Note on B34: llawal: KADUNA, SOKOTO, KEBBI, ZAMFARA
Note on B35: llawal: KATSINA, KANO, JIGAWA
Note on B36: llawal: BAYELSA, RIVERS, C/RIVER, A/IBOM
Note on B37: llawal: ADAMAWA. BORNO, TARABA, YOBE

## load_allocation_final (hidden)
| ACTUAL GENERATION (MW) |  | 3609.6
| AVAILABLE GENERATION CAPACITY (MW) |  | 5125
COMMENTS
| INTERNATIONAL SUPPLIES |  | 223 | Fixed Bilateral Agreements
| AUXILLIARY CONSUMPTION |  | 40 | Station Auxiliaries at power stations
| SPINNING RESERVES |  | 182 | Depends on the availability of machines on free governor control;
| STATION SERVICES & STRATEGIC NODES FOR VOLTAGE CONTROL |  | 40 | Consumption at transmission stations
| EASTERN AXIS |  | 768 | B1T can take up to 500MW; Balance of 450MW would be evacuated through Benin
| BENIN |  | 282 | Voltage control; Covering Ado-Ekiti, Akure, Asaba, Benin, Warri
| OSOGBO |  | 192 | Voltage Control
| MAIDUGURI |  | 10 | Voltage Control
| LAGOS (IKEJA) |  | 550 | Economic Reasons
| LAGOS (EKO) |  | 450 | Economic Reasons
| ABUJA |  | 300 | Federal Capital Territory and Part of Nassarawa
|  | TOTAL | 3037
| Capacity for Load Allocation amongst Discos |  | 572.6
S/No | DISTRIBUTION COMPANY | 5% LOAD ALLOCATION BASED ON ACTUAL GENERATION (MW) | LOAD ALLOCATION BASED ON PERFORMANCE INDICATORS | [9 empty] | FINAL LOAD ALLOCATION (MW)
|  |  | Loss Reduction (% Points); Weight: 40% |  | Metering (%); Weight: 30% |  | Network Expansion (%); Weight: 20% |  | Customer Satisfaction Index; Weight: 0% |  | Distribution Capacity (MVA); Weight: 10%
|  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF!
1 | ABUJA | 0 | 4.6 | #REF! | 4.31 | #REF! | 2.73 | #REF! |  | #REF! | 1605 | #REF! | #REF!
2 | BENIN | 0 | 3.9 | #REF! | 3.9667 | #REF! | 3.1 | #REF! |  | #REF! | 1662 | #REF! | #REF!
3 | EKO | 0 | 5.2 | #REF! | 4.9433 | #REF! | 3.43 | #REF! |  | #REF! | 1637 | #REF! | #REF!
4 | ENUGU | 0 | 3 | #REF! | 3.2133 | #REF! | 2.64 | #REF! |  | #REF! | 1684 | #REF! | #REF!
5 | IBADAN | 57.26 | 4.1 | #REF! | 4.0367 | #REF! | 2.91 | #REF! |  | #REF! | 1602 | #REF! | #REF!
6 | lKEJA | 0 | 3.5 | #REF! | 3.6767 | #REF! | 3.03 | #REF! |  | #REF! | 1593.5 | #REF! | #REF!
7 | JOS | 57.26 | 3.6 | #REF! | 3.8833 | #REF! | 3.45 | #REF! |  | #REF! | 1692 | #REF! | #REF!
8 | KADUNA | #REF! | 2.9 | #REF! | 3.24 | #REF! | 2.92 | #REF! |  | #REF! | 1366.9 | #REF! | #REF!
9 | KANO | 0 | 4.3 | #REF! | 4.29 | #REF! | 3.27 | #REF! |  | #REF! | 1403.6 | #REF! | #REF!
10 | PORT HARCOURT | 0 | 3.7 | #REF! | 3.7433 | #REF! | 2.83 | #REF! |  | #REF! | 1640.3 | #REF! | #REF!
11 | YOLA | 57.26 | 4.4 | #REF! | 4.32 | #REF! | 3.16 | #REF! |  | #REF! | 1507 | #REF! | #REF!
| 55% OF CAPACITY FOR ALLOCATION | #REF! | [10 empty] | #REF!
| % of total available gen capacity (MW) | #REF! | [10 empty] | #REF!
| Diff of Peak and 55% Allocation | #REF!
[10 empty] | % Allocation Based on Cust.population (against Peak Cap) | % Allocation Based on Cust.population (against Available Cap) |  | % Allocation Based on Customer Population |  | %tage Network Expansion
|  |  | 1.2 |  | 0.0431 |  | 0.61 |  | 0.10147 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF!
|  |  | 0.8 |  | 0.039667 |  | 0.64 |  | 0.13682 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF!
|  |  | 1.1 |  | 0.049433 |  | 0.79 |  | 0.061713 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF!
|  |  | 0.9 |  | 0.032133 |  | 0.57 |  | 0.10287 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF!
|  |  | 1 |  | 0.040367 |  | 0.6 |  | 0.18391 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF!
|  |  | 0.9 |  | 0.036767 |  | 0.74 |  | 0.092827 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF!
|  |  | 0.9 |  | 0.038833 |  | 0.76 |  | 0.068912 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF!
|  |  | 0.6 |  | 0.0324 |  | 0.52 |  | 0.066362 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF!
|  |  | 0.6 |  | 0.0429 |  | 0.55 |  | 0.066475 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF!
|  |  | 0.5 |  | 0.037433 |  | 0.46 |  | 0.057514 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF!
|  |  | 0.8 |  | 0.0432 |  | 0.51 |  | 0.061124 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF!
|  |  | 9.3 |  | 0.43623 |  | 6.75 |  | 1 | #REF! | #REF! |  | #REF! |  | #REF! | #REF!
|  |  | 0.84545 |  | 0.039658 |  | 0.61364 |  | 0.090909 | #REF! | #REF! |  | 24.4511 |  | #REF! | #REF!
Note on D22: whyem:
Note on B23: llawal: FCT, BENUE, KOGI, NIGER, NASARAWA
Note on B24: llawal: DELTA, EDO, EKITI, ONDO
Note on B25: llawal: LAGOS SOUTH
Note on B26: llawal: ABIA, ANAMBRA, ENUGU, EBONYI, IMO
Note on B27: llawal: OYO, OGUN, OSUN, KWARA
Note on B28: llawal: LAGOS NORTH
Note on B29: llawal: PLATEAU, BAUCHI, GOMBE
Note on B30: llawal: KADUNA, SOKOTO, KEBBI, ZAMFARA
Note on B31: llawal: KATSINA, KANO, JIGAWA
Note on B32: llawal: BAYELSA, RIVERS, C/RIVER, A/IBOM
Note on B33: llawal: ADAMAWA. BORNO, TARABA, YOBE

## Sheet1 (hidden)
PEAK GENERATION CAPACITY(MW)
AVAILABLE GENERATION CAPACITY (MW)
FORECASTED GENERATION CAPACITY (MW)
S/No | DISTRIBUTION COMPANY | PEAK GENERATION CAPACITY(MW) | AVAILABLE GENERATION CAPACITY (MW) | FORECASTED GENERATION CAPACITY (MW) | LOAD ALLOCATION BASED ON% SHARING (MIN. ALLOCATION) | LOAD ALLOCATION BASED ON PEAK GENERATION CAPACITY (MW) | LOAD ALLOCATION BASED ON AVAILABLE GENERATION CAPACITY (MW) | LOAD ALLOCATION BASED ON FORECASTED GENERATION CAPACITY (MW) | LOAD ALLOCATION BASED ON PERFORMANCE INDICATORS |  |  |  |  | FINAL LOAD ALLOCATION (MW)
[9 empty] | %Loss Reduction | %tage Metering | %tage Network Expansion | Customer Population | Distribution Capacity (MVA)
1 | ABUJA | 3959 | 4548 |  | 197.95 | 227.4 | 0
2 | BENIN | 3467 | 7894 |  | 173.35 | 394.7 | 0
3 | EKO | 2975 | 3982 |  | 148.75 | 199.1 | 0
4 | lKEJA | 2483 | 4908.6667 |  | 124.15 | 245.4333 | 0
5 | ENUGU | 1991 | 4625.6667 |  | 99.55 | 231.2833 | 0
6 | IBADAN | 1499 | 4342.6667 |  | 74.95 | 217.1333 | 0
7 | JOS | 1007 | 4059.6667 |  | 50.35 | 202.9833 | 0
8 | KADUNA | 515 | 3776.6667 |  | 25.75 | 188.8333 | 0
9 | KANO | 23 | 3493.6667 |  | 1.15 | 174.6833 | 0
10 | PORT HARCOURT | 3959 | 3210.6667 |  | 197.95 | 160.5333 | 0
11 | YOLA | 3959 | 2927.6667 |  | 197.95 | 146.3833 | 0
INTERNATIONAL SUPPLIES
AUXILLIARY CONSUMPTION
SPINNING RESERVES
Note on B8: llawal: FCT, BENUE, KOGI, NIGER, NASARAWA
Note on B9: llawal: DELTA, EDO, EKITI, ONDO
Note on B10: llawal: LAGOS SOUTH
Note on B11: llawal: LAGOS NORTH
Note on B12: llawal: ABIA, ANAMBRA, ENUGU, EBONYI, IMO
Note on B13: llawal: OYO, OGUN, OSUN, KWARA
Note on B14: llawal: PLATEAU, BAUCHI, GOMBE
Note on B15: llawal: KADUNA, SOKOTO, KEBBI, ZAMFARA
Note on B16: llawal: KATSINA, KANO, JIGAWA
Note on B17: llawal: BAYELSA, RIVERS, C/RIVER, A/IBOM
Note on B18: llawal: ADAMAWA. BORNO, TARABA, YOBE

## Sheet 2 (hidden)
| PEAK GENERATION CAPACITY(MW) |  | 3250.7
| AVAILABLE GENERATION CAPACITY (MW) |  | 5125
FORECASTED GENERATION CAPACITY (MW)
| LOAD ALLOCATION BASED ON% SHARING (MIN. ALLOCATION) |  | 2818.75
S/No | DISTRIBUTION COMPANY | LOAD ALLOCATION BASED ON PEAK GENERATION CAPACITY (MW) | LOAD ALLOCATION BASED ON AVAILABLE GENERATION CAPACITY (MW) | LOAD ALLOCATION BASED ON FORECASTED GENERATION CAPACITY (MW) | LOAD ALLOCATION BASED ON PERFORMANCE INDICATORS | [11 empty] | FINAL LOAD ALLOCATION (MW)
[5 empty] | Loss Reduction (% Points) |  |  |  | %tage Metering |  | %tage Network Expansion |  | Customer Population |  |  | Distribution Capacity (MVA)
1 | ABUJA | 117.1547 | 256.25 | 0 | 4.6 | 0.88462 | 52.2291 | 52.2291 | 52.3 | 52.8494 | 61.3 | 44.5051 | 479703.8333 | 0.10147 | 49.7716 |  | 316.5099
2 | BENIN | 117.1547 | 256.25 | 0 | 3.9 | 0.75 | 44.2812 | 44.2812 | 48.2 | 48.7064 | 64.2 | 46.6105 | 646820.4167 | 0.13682 | 67.1107 |  | 323.8636
3 | EKO | 117.1547 | 256.25 | 0 | 5.2 | 1 | 59.0416 | 59.0416 | 46.7 | 47.1906 | 78.7 | 57.1378 | 291745.8333 | 0.061713 | 30.27 |  | 310.7948
4 | ENUGU | 117.1547 | 256.25 | 0 | 3 | 0.57692 | 34.0625 | 34.0625 | 39.9 | 40.3192 | 57.4 | 41.6736 | 486322.5833 | 0.10287 | 50.4583 |  | 283.6683
5 | IBADAN | 117.1547 | 256.25 | 0 | 4.1 | 0.78846 | 46.552 | 46.552 | 51.4 | 51.94 | 60.1 | 43.6338 | 869430.8333 | 0.18391 | 90.2076 |  | 349.4882
6 | lKEJA | 117.1547 | 256.25 | 0 | 3.5 | 0.67308 | 39.7395 | 39.7395 | 43.9 | 44.3612 | 74.2 | 53.8707 | 438837.0795 | 0.092827 | 45.5314 |  | 300.6577
7 | JOS | 117.1547 | 256.25 | 0 | 3.6 | 0.69231 | 40.875 | 40.875 | 42.8 | 43.2496 | 76.3 | 55.3954 | 325780.6081 | 0.068912 | 33.8013 |  | 290.476
8 | KADUNA | 117.1547 | 256.25 | 0 | 2.9 | 0.55769 | 32.927 | 32.927 | 41.7 | 42.1381 | 52.3 | 37.9709 | 313725.1667 | 0.066362 | 32.5505 |  | 262.7412
9 | KANO | 117.1547 | 256.25 | 0 | 4.3 | 0.82692 | 48.8229 | 48.8229 | 40.6 | 41.0265 | 54.6 | 39.6407 | 314261.75 | 0.066475 | 32.6062 |  | 279.251
10 | PORT HARCOURT | 117.1547 | 256.25 | 0 | 3.7 | 0.71154 | 42.0104 | 42.0104 | 39.5 | 39.915 | 45.8 | 33.2517 | 271894.4167 | 0.057514 | 28.2103 |  | 260.5422
11 | YOLA | 117.1547 | 256.25 | 0 | 4.4 | 0.84615 | 49.9583 | 49.9583 | 38.4 | 38.8034 | 50.7 | 36.8092 | 288964.6364 | 0.061124 | 29.9815 |  | 272.7071
| 55% OF TOTAL | 1288.7022 | 2818.75 |  | 490.4994 | 8.3077 | 490.4994 | 490.4994 | 490.4994 | 490.4994 | 490.4994 | 490.4994 | 4727487.1573 | 1 | 490.4994 |  | 3250.7
| % of total available gen capacity (mw) | 39.6438 | 55 | [13 empty] | ALLOCATION BALANCED
| Diff of Peak and 55% Allocation | 1961.9977 | 2306.25
| INTERNATIONAL SUPPLIES | 325.07
| AUXILLIARY CONSUMPTION | 162.535
| SPINNING RESERVES | 260
| STATION SERVICES & STRATEGIC NODES FOR VOLTAGE CONTROL | 160
| TOTAL | 907.605
2343.095
1054.3927
[7 empty] | 46.552 | [7 empty] | % Allocation Based on Cust.population (against Peak Cap) | % Allocation Based on Cust.population (against Available Cap) | % Allocation Based on Customer Population |  | %tage Network Expansion
[5 empty] | 1.2 |  |  |  | 0.523 |  | 0.61 |  | 0.10147 |  | 199.0863 | 234.018 | 76.2174 | 3.8847 | 89.5905 | 193.3721
[5 empty] | 0.8 |  |  |  | 0.482 |  | 0.64 |  | 0.13682 |  | 268.4429 | 315.5439 | 66.2474 | 3.3765 | 77.8712 | 183.4022
[5 empty] | 1.1 |  |  |  | 0.467 |  | 0.79 |  | 0.061713 |  | 121.0801 | 142.3248 | 49.1371 | 2.5044 | 57.7587 | 166.2918
[5 empty] | 0.9 |  |  |  | 0.399 |  | 0.57 |  | 0.10287 |  | 201.8332 | 237.2469 | 41.3126 | 2.1056 | 48.5613 | 158.4674
[5 empty] | 1 |  |  |  | 0.514 |  | 0.6 |  | 0.18391 |  | 360.8305 | 424.1418 | 111.2801 | 5.6718 | 130.8053 | 228.4349
[5 empty] | 0.9 |  |  |  | 0.439 |  | 0.74 |  | 0.092827 |  | 182.1258 | 214.0816 | 53.2488 | 2.714 | 62.5919 | 170.4036
[5 empty] | 0.9 |  |  |  | 0.428 |  | 0.76 |  | 0.068912 |  | 135.2052 | 158.9283 | 39.5816 | 2.0174 | 46.5266 | 156.7363
[5 empty] | 0.6 |  |  |  | 0.417 |  | 0.52 |  | 0.066362 |  | 130.202 | 153.0472 | 16.9398 | 0.8634 | 19.9121 | 134.0945
[5 empty] | 0.6 |  |  |  | 0.406 |  | 0.55 |  | 0.066475 |  | 130.4246 | 153.309 | 17.4743 | 0.89064 | 20.5403 | 134.629
[5 empty] | 0.5 |  |  |  | 0.395 |  | 0.46 |  | 0.057514 |  | 112.8414 | 132.6406 | 10.2516 | 0.52251 | 12.0504 | 127.4064
[5 empty] | 0.8 |  |  |  | 0.384 |  | 0.51 |  | 0.061124 |  | 119.9259 | 140.9681 | 18.789 | 0.95765 | 22.0857 | 135.9438
[5 empty] | 9.3 |  |  |  | 4.854 |  | 6.75 |  | 1 |  | 1961.9977 | 2306.25 | 500.4798 |  | 588.2941 | 1789.1821
[5 empty] | 0.84545 |  |  |  | 0.44127 |  | 0.61364 |  | 0.090909 |  | 178.3634 | 209.6591 | 45.4982 |  | 53.4813 | 162.6529
Note on B10: llawal: FCT, BENUE, KOGI, NIGER, NASARAWA
Note on B11: llawal: DELTA, EDO, EKITI, ONDO
Note on B12: llawal: LAGOS SOUTH
Note on B13: llawal: ABIA, ANAMBRA, ENUGU, EBONYI, IMO
Note on B14: llawal: OYO, OGUN, OSUN, KWARA
Note on B15: llawal: LAGOS NORTH
Note on B16: llawal: PLATEAU, BAUCHI, GOMBE
Note on B17: llawal: KADUNA, SOKOTO, KEBBI, ZAMFARA
Note on B18: llawal: KATSINA, KANO, JIGAWA
Note on B19: llawal: BAYELSA, RIVERS, C/RIVER, A/IBOM
Note on B20: llawal: ADAMAWA. BORNO, TARABA, YOBE
Note on C26: whyem: Are these before or after the 5% DISCOs Allocation? This an ari
Note on C30: whyem: Sum of Int Supplies, Aux Consumption and Reserves
Note on C32: whyem: PEAK GEN. minus "TOTAL OF EXTRA SUPPLIES"
Note on C33: whyem: Remainder of C23 minus TOTAL OF EXTRA SUPPLIES