## Sheet1
BREAKDOWN OF TELECOMMUNICATION IMPROVEMENT FUND
S/N | DESCRIPTION OF ITEMS | QTY | UNIT | UNIT PRICE ($) | TOTAL PRICE ($)
1 | Upgrade of TNMS (Transmission Network Management System ) for SDH Monitoring and operation system of SDH and Optic Fiber Network | Lot | Lot | 155000 | 155000
2 | Replacement of 24 Microwave radio systems with SDH Equipment in Lagos Region | No | 24 | 92000 | 2208000
3 | 48 Multiplexer for Digital and Analogue interfaces including Installation and commissioning in the following stations - Akangba, Ijora, Ikeja west, Ogba, Aja, Afam3, Ajaokuta 330, ASCO, Dakata, Abuja330, Isolo, Alagbon, Ota, Alausa, Egbin G/S, Afam 4, Jericho, Ajaokuta 132, Dan-Agundi, Katampe132, Apapa road, Oworoshoki, Ejigbo, Maryland, Ikorodu, Afam 5, Papalanto, Delta 4, Mando, Abuja Apo, Amuwo - odofin, Akangba 132, Itire, Ayede, Osogbo, Alaoji, Aba, PH Main, Kano Kumbotso, Effurun, Ojo, Akoka, Alimosho, Ilupeju, Shagamu, GCM Onitsha, Onitsha , PH Town. | No | 48 | 45000 | 2160000
4 | upgrade of old PDH System in 22 Locations to SDH System - PHCN HQ,Abuja Central Area, Katampe, Apo, Karo, Kubwa, Keffi, Akwanga, Shiroro SNCC, Shiroro Sw Yard, Kainji, Jebba GS, Osogbo 330, Akure, Benin main, Sapele, Delta, Delta 1, Egbin, Onitsha,Ikeja west. | No | 22 | 45000 | 990000
5 | SDH Booster, Wavelenght Converter and Pre-amplifier sets for Long distances 280km for Gwagwalada - Ajaokuta, Kaduna - Jos, Markudi - Jos, Sokoto - Birnin Kebbi, Jos - Gombe, Ajaokuta - Benin, Omotosho - Ikeja west with installation and commissioning | No | 10 | 52000 | 520000
6 | 48v Three phase Chargers with two battery banks for 330kV and 132kV substations (Maintenance free Batteries) | No | 60 | 20750 | 1245000
7 | SDH with Multiplexer equipment for Zaria-Funtua - Gusau- TalataMafara - Sokoto - Birnin Kebbi | No | 6 | 92000 | 552000
8 | Multiplexer for Digital and Analogue interfaces with installation and commissioning | No | 6 | 45000 | 270000
9 | Mini OPGW from Ajaokuta - Benin with installation and commissioning | Km | 260 | 15000 | 3900000
10 | Mini OPGW from Shiroro - Minna with installation and commissioning | Km | 70 | 15000 | 1050000
11 | Mini OPGW from Omotosho - Ikeja west with installation and commissioning | Km | 180 | 15000 | 2700000
12 | Mini OPGW from Zaria-Funtua-Gusau-TalataMafara-Sokoto- Brinin Kebbi | Km | 640 | 15000 | 9600000
13 | 3.5HP A/C cooling systems for 20 locations 330kV and 30 locations 132kV | No | 100 | 6500 | 650000
| Grand Total |  |  |  | 26000000