## GROUP 1
Package-2 (New Projects for 10GW Network)
Group-1: Kainji-Birnin Kebbi-Gusau
TYPES | S/N | PROJECT DESCRIPTION | COST(US$)
TRANSMISSION LINES AND SUBSTATIONS | 9 | Birnin Kebbi - Sokoto D.C 330kV line (140km) | 50750000
| 10 | 2x150MVA, 330/132kV at Sokoto andAssociated 132kV | 23837708.9311
| 11 | 2nd Kainji - Birnin Kebbi 330/132kV DC Transmission Line (310Km) + 2 Line bay Extension | 112375000
| 12 | Sokoto – Tmafara - Gusau - Katsina 330 kV double circuit line (340KM) | 123250000
| 13 | 2x150MVA, 330/132kV at Gusau and Associated 132kV | 23837708.9311
| 45 | Kainji - Kaima - Kishi - Shaki 132kV DC Transmision Line(180km) + 2 x 60MVA 132/33kV Substations at Kaima & Kishi + 4 Bay Extensions
| 45-1 | Kainji - Kaima - Kishi - Shaki 132kV DC Transmision Line(180km) | 43312500
| 45-2 | 2x60MVA 132/33kV Substations at Kaima & Kishi + 4 Bay Extensions | 9700000
| 47 | 25km 330kV DC Tee off to Zaria from the on-going Kaduna - Kano 330kV DC Line with 2 x 150MVA 330/132kV S/S at Zaria, 2no. 330kv line bays and 4 no. outgoing 132kV feeders.
| 47-1 | 25km 330kV DC Tee off to Zaria from the on-going Kaduna - Kano 330kV DC Line | 1812500
| 47-2 | 2 x 150MVA 330/132kV S/S at Zaria, 2no. 330kv line bays and 4 no. outgoing 132kV feeders | 23000000
| Subtotal |  | 411875417.8622
CAPACITOR AND REACTORS | 4 | Kano SVC; 330kV, +35MVAr, -50MVAr | 3527500
| 27 | Bida; 40MVAr, 132kV Fixed Shunt Capacitor | 1660000
| 30 | Niamey; 25MVAr, 132kV Fixed Shunt Capacitor | 1037500
| 34 | Tmafara; 35MVAr, 330kV Shunt Reactor project | 1452500
| 40 | Kano; 50MVAr, 132kV Fixed Shunt Capacitor | 2075000
| 41 | Kankia; 30MVAr, 132kV Fixed Shunt Capacitor | 1245000
| 42 | Dutse; 45MVAr, 132kV Fixed Shunt Capacitor | 1867500
| 43 | Hadejia; 34MVAr, 132kV Fixed Shunt Capacitor | 1411000
| 44 | Dakata; 70MVAr, 33kV Fixed Shunt Capacitor project | 2905000
| 45 | Dan Agundi; 85MVAr, 33kV Fixed Shunt Capacitor project | 3527500
| 46 | Dutse; 10MVAr, 33kV Fixed Shunt Capacitor project | 415000
| 47 | Kankia; 15MVAr, 33kV Fixed Shunt Capacitor project | 622500
| Subtotal |  | 21746000
POWER TRANSFORMERS
Shunt Reactors |  | Birnin Kebbi: 50MVar, Ganmo: 50MVar | 4150000
Total |  |  | 437771417.8622
437.7714

## GROUP 2
Package-2 (New Projects for 10GW Network)
Group-2: Lagos
TYPES | S/N | PROJECT DESCRIPTION | COST(US$)
TRANSMISSION LINES AND SUBSTATIONS | 14 | Akure-Ondo 132kV DC line + line bay extensions. (92 km) | 12031250
| 15 | Osogbo-Ilesha 132kV QUAD line(40km). | 15400000
| 16 | Ilesha Tee - Ife 132kV dc line (20km) | 4812500
| 17 | Ife - Ondo 132kV dc line (60km) | 14437500
| 18 | 2x150MVA 330/132KV + 2 x 60MVA 132/33kV Transformer capacity at Ogijo, Lagos and turn-in-out of Benin-Egbin-Ikeja West 330kv DC at Ogijo | 37745000
| 19 | 132kV D.C Line (50kM ) from Ojigo - MFM and 132/33KV, 2X60MVA S/S @ MFM
| 19-1 | 132kV D.C Line (50kM ) from Ojigo - MFM | 4812500
| 19-2 | 132/33KV, 2X60MVA S/S @ MFM | 9700000
| 20 | 2x150MVA, 330/132kV + 2x60MVA, 132/33kV substation at Epe and Associated 6no 33kV feeders. | 32700000
| 21 | 50km 132kV D.C line to Ibeju + 2x60MVA, 132/33kV substation at Ibeju Lekki and 2x132kV line bays extension at Epe.
| 21-1 | 50km 132kV D.C line to Ibeju | 12031250
| 21-2 | 2x60MVA, 132/33kV substation at Ibeju Lekki and 2x132kV line bays extension at Epe | 9700000
| 22 | 2 x 150MVA, 330/132kV substation at Ado Ekiti + 2 x 60MVA 132/33kV Transformers. | 32700000
| 23 | Akure - Ado Ekiti 330kV D.C transmission line (80km) | 29000000
| 24 | Arigbajo - Agbara 330kV D.C transmission line (40km) | 14500000
| 25 | 2x150MVA, 330/132kV substation at New Agbara, with 2x330kV and 4x132kV line bays. | 28475000
| 26 | New Agbara - Agbara -Badagry 132kV D/C transmission line (70km). | 16843750
| 27 | 2X60MVA, 132/33kV substation at Badagry and 2x132kV line bays extension at Agbara. | 9700000
| 28 | Arigbajo - New Abeokuta 132kV DC Transmission Line | 11057767
| 29 | Convert Akangba -Amuwo -Ojo 132kV DC transmission line DC ACCC conductor(15km). | 3606250
| 30 | Convert existing Oshogbo - Offa (50km) SC (Hyena)- Offa-Ganmo(50km) DC using existing ROW with ACCC conductor | 12031250
| 31 | Olorunsogo - Arigbajo 330 KV QUAD Transmission line (15km) | 8700000
| 32 | IkjW/Osogbo 330KV DC turn in-out 15km @ Arigbajo + Ogijo - Arigbajo DC Transmission line (40km). | 19937500
| 42 | Omotosho -Akure 330kV DC Transmission line QUAD Conductor(80km)+ line Bays Extension | 46400000
| 43 | Akure – Oshogbo 330 kV double circuit line QUAD Conductor (96km)+ line bay extensions. | 55680000
| Subtotal |  | 442001517
CAPACITOR AND REACTORS | 2 | Osogbo SVC; 330kV, +60MVAr, -75MVAr | 5602500
| 5 | Ikeja 50MVAr, 132kV Fixed Shunt Capacitor | 2075000
| 6 | Papalanto 50MVAr, 132kV Fixed Shunt Capacitor | 2075000
| 7 | Akoka 50MVAr; 132kV Fixed Shunt Capacitor | 2075000
| 8 | Alausa 75MVAr; 132kV Fixed Shunt Capacitor | 3112500
| 9 | Meryland 60MVAr; 132kV Fixed Shunt Capacitor | 2490000
| 10 | Ogba 50MVAr; 132kV Fixed Shunt Capacitor | 2075000
| 11 | Otta 50MVAr; 132kV Fixed Shunt Capacitor | 2075000
| 12 | Oworosoki 50MVAr; 132kV Fixed Shunt Capacitor | 2075000
| 13 | Old Abeokuta 50MVAr; 132kV Fixed Shunt Capacitor | 2075000
| 14 | Oke_Aro 75MVAr; 132kV Fixed Shunt Capacitor | 3112500
| 15 | Maryland 40MVAr; 33kV Fixed Shunt Capacitor | 1660000
| 16 | Ikorodu 20MVAr; 33kV Fixed Shunt Capacitor | 830000
| 17 | Ilupeju 50MVAr, 11kV Fixed Shunt Capacitor | 2075000
| 18 | Itire 20MVAr; 11kV Fixed Shunt Capacitor | 830000
| 23 | Abeokuta Old;10MVAr, 33kV Fixed Shunt Capacitor | 415000
| 25 | Omuaran; 30MVAr, 33kV Fixed Shunt Capacitor | 1245000
| 55 | IFE 1; 20MVAr, 132kV Fixed Shunt Capacitor | 830000
| 58 | OSOGBO 1; 10MVAr, 132kV Fixed Shunt Capacitor | 415000
| Subtotal |  | 37142500
POWER TRANSFORMERS |  | 150 MVA - 3nos, 300 MVA - 4nos , 60MVA(132/33kV) - 10nos | 62974200
Shunt Reactors |  | Osogbo: 75MVar, Omotosho: 75MVar | 6225000
Total |  |  | 548343217
548.3432

## GROUP 3
Package-2 (New Projects for 10GW Network)
Group-3: Jos - Gombe - Damaturu
TYPES | S/N | PROJECT DESCRIPTION | COST(US$)
TRANSMISSION LINES AND SUBSTATION | 5 | 2nd Jos – Bauchi - Gombe 330 kV DC line(264KM) between + line bay extension &330/132KV S/S @ Bauchi. | 95700000
| 6 | 2 x 150MVA, 330/132kV + 2 x 60MVA 132/33kV substations at Bauchi with 2 x 330kV and 4 x 132kV line bays | 32700000
| 7 | 2nd 330 kV single circuit line through Gombe & Damaturu | 48937500
| 8 | 2x150MVA, 330/132kV at Jalingo andAssociated 132Kv . | 23837708.9311
| Subtotal |  | 201175208.9311
CAPACITOR AND REACTORS | 1 | Gombe SVC; 330kV, +115MVAr, -168MVAr (OR SVC with total size of +250MVAr,- 100MVAr ) | 11744500
| 48 | Bauchi;83MVAr, 132kV Fixed Shunt Capacitor | 3444500
| 49 | Bauchi; 15MVAr, 33kV Fixed Shunt Capacitor | 622500
| 50 | Jalingo; 10MVAr, 330kV Shunt Reactor project | 415000
| 57 | JOS 3; 270MVAr, 330kV Fixed Shunt Capacitor | 11205000
| 61 | Biu; 20MVAr, 132kV Fixed Shunt Capacitor | 830000
| 62 | Damboa; 20MVAr, 132kV Fixed Shunt Capacitor | 830000
| Subtotal |  | 29091500
POWER TRANSFORMERS |  | 150 MVA - 6nos, 300 MVA - nill | 15948000
Total |  |  | 246214708.9311
246.2147

## GROUP 4
Package-2 (New Projects for 10GW Network)
Group-4: Awka - Ugwuaji - Jos
TYPES | S/N | PROJECT DESCRIPTION | COST(US$)
TRANSMISSION LINES AND SUBSTATION | 1 | 2x150MVA, 330/132kV Lafia andAssociated 132Kv + line bay turn in and out of Makurdi - Jos 330kV line . | 23837708.9311
| 4 | 2nd Ugwuaji - Aliade – Makurdi - Jos 330 kV double circuit line (490km) - Quad Conductor + line bay extensions. | 177625000
| 33 | Ugwuaji - Abakaliki 330KV DC Transmission line (85km) | 30812500
| 34 | 2 x 150MVA 330/132KV + 2 x 60MVA, 132/33kv Substation @Abakaliki. | 32700000
| 35 | Ugwaji - Onitsha turn - out @ Awka (2km) + 2 x 150MVA, 330/132kV substation at Awka + 2 x 60MVA 132/33kV Transformers.
| 35-1 | Ugwaji - Onitsha turn - out @ Awka (2km) | 725000
| 35-2 | 2 x 150MVA, 330/132kV substation at Awka + 2 x 60MVA 132/33kV Transformers | 32700000
| 36 | Reconductoring of Afam-Port Harcourt 132kV line | 7937500
| 37 | Ughelli - Efurrun – Benin 330 kV DC circuits (96km) + line bay extensions + 2 x 150MVA 330/132kV Substation + 2 x 60MVA 132/33kV Substation at Effunrun
| 37-1 | Ughelli - Efurrun – Benin 330 kV DC circuits (96km) + line bay extensions | 34800000
| 37-2 | 2x150MVA 330/132kV Substation + 2x60MVA 132/33kV Substation at Effunrun | 32700000
| 38 | 2x150MVA at Sapele + Sapele - Amukpe 132KV DC Transmission line (40km)
| 38-1 | Sapele - Amukpe 132KV DC Transmission line (40km) | 9625000
| 38-2 | 2x150MVA at Sapele | 23000000
| 39 | Onitsha - Ugwuaji 330 kV double circuit line Bison Conductor (95km)+ line bay extensions at Onitsha and Ugwuaji. | 34437500
| 40 | Ugwuaji - Ajaokuta – 330 kV double circuit line QUAD Conductor (180km)+ line bay extensions. | 104400000
| Subtotal |  | 545300208.9311
CAPACITOR AND REACTORS | 35 | Delta; 95MVAr, 132kV Fixed Shunt Capacitor | 3942500
| 36 | Ukpilla; 10MVAr, 132kV Fixed Shunt Capacitor project | 415000
| 37 | Effurun; 55MVAr, 132kV Fixed Shunt Capacitor project | 2282500
| 38 | Irrua; 30MVAr, 33kV Fixed Shunt Capacitor project | 1245000
| 39 | Effurun, 50MVAr, 33kV Fixed Shunt Capacitor project | 2075000
| 51 | Abakaliki; 50MVAr, 132kV Fixed Shunt Capacitor | 2075000
| 52 | Yandev; 60MVAr, 132kV Fixed Shunt Capacitor | 2490000
| 53 | MAKURDI_3; 200MVAr, 330kV Fixed Shunt Capacitor | 8300000
| 54 | ALIADE_3; 70MVAr, 330kV Fixed Shunt Capacitor | 2905000
| 59 | Nsukka; 5MVAr, 33kV Fixed Shunt Capacitor | 207500
| 63 | Awka; 30MVAr, 132kV Fixed Shunt Capacitor | 1245000
| Subtotal |  | 27182500
POWER TRANSFORMERS |  | 150 MVA -6nos, 300 MVA - 3nos , 60MVA(132/33kV) - 8nos | 41873760
Shunt Reactors |  | Sapele: 75MVar | 3112500
Total |  |  | 617468968.9311
617.469

## GROUP 5
Package-2 (New Projects for 10GW Network)
Group-5: Benin - Katampe
TYPES | S/N | PROJECT DESCRIPTION | COST(US$)
TRANSMISSION LINES AND SUBSTATION | 2 | 2nd Ajaokuta - Lokoja – Gwagwalada 330 kV double circuit line 330 kV double circuit line (260km) - QUAD conductor+ line bay extensions. | 80837500
| 3 | 2nd Gwagwalada – Shiroro/ Katampe 330 kV double circuit 330KV Circuit line (40km) + line bay extensions.. | 14500000
| 41 | Ajaokuta - Akure – 330 kV double circuit line QUAD Conductor (200km)+ line bay extensions. | 116000000
| 44 | Gwagwalada - Abaji 132KV DC Transmission Line + 2 x 60MVA 132/33kV Substation at Abaji + 2 Line Bay Extension | 36125000
| 46 | 2nd Benin - Omotosho 330KV DC Trx Line (125km) | 72500000
| Subtotal |  | 319962500
CAPACITOR AND REACTORS | 3 | Katempe SVC; 330kV +100MVAr, -75MVAr | 7262500
| 19 | Akure 70MVAr, 132kV Fixed Shunt Capacitor | 2905000
| 20 | Ife 20MVAr, 132kV Fixed Shunt Capacitor | 830000
| 21 | Ondo1; 10MVAr, 132kV Fixed Shunt Capacitor | 415000
| 22 | Ondo2 40MVAr, 33kV Fixed Shunt Capacitor | 1660000
| 24 | Akure; 20MVAr, 33kV Fixed Shunt Capacitor | 830000
| 26 | Apo; 60MVAr, 132kV Fixed Shunt Capacitor | 2490000
| 28 | Central Area; 20MVAr, 132kV Fixed Shunt Capacitor | 830000
| 29 | Keffi;25MVAr, 132kV Fixed Shunt Capacitor | 1037500
| 31 | Katampe; 50MVAr, 330kV Fixed Shunt Capacitor | 2075000
| 32 | Akwanga; 20MVAr, 33kV Fixed Shunt Capacitor project | 830000
| 33 | Gwagwalada; 50MVAr,33kV Fixed Shunt Capacitor project | 2075000
| 56 | KATAMPE 3; 150MVAr, 330kV Fixed Shunt Capacitor | 6225000
| 60 | Apo; 20MVAr, 132kV Fixed Shunt Capacitor | 830000
| Subtotal |  | 30295000
POWER TRANSFORMERS |  | 150 MVA -5nos, 300 MVA - 2nos, 60MVA(132/33kV) - 4nos | 28910880
Shunt Reactors |  | Benin: 75MVar, Gwagwalada: 75MVar | 6225000
Total |  |  | 385393380
385.3934

## REACTIVE COM - FUND UTILIZATION
PACKAGE 2: NEW PROJECTS FOR 10GW NETWORK - FUND UTILIZATION IN US$ (Capacitors and Reactors)
|  | Summary | 165170000 | 115619000 | 33034000 | 16517000
S/N | Group | Project Titles | Estimated Total Project Costs in US$ | 2014 | 2015 | 2016 | 2017 | 2018
4 | 1 | Kano SVC; 330kV, +35MVAr, -50MVAr | 3527500 | 2469250 | 705500 | 352750
27 | 1 | Bida; 40MVAr, 132kV Fixed Shunt Capacitor | 1660000 | 1162000 | 332000 | 166000
30 | 1 | Niamey; 25MVAr, 132kV Fixed Shunt Capacitor | 1037500 | 726250 | 207500 | 103750
34 | 1 | Tmafara; 35MVAr, 330kV Shunt Reactor project | 1452500 | 1016750 | 290500 | 145250
40 | 1 | Kano; 50MVAr, 132kV Fixed Shunt Capacitor | 2075000 | 1452500 | 415000 | 207500
41 | 1 | Kankia; 30MVAr, 132kV Fixed Shunt Capacitor | 1245000 | 871500 | 249000 | 124500
42 | 1 | Dutse; 45MVAr, 132kV Fixed Shunt Capacitor | 1867500 | 1307250 | 373500 | 186750
43 | 1 | Hadejia; 34MVAr, 132kV Fixed Shunt Capacitor | 1411000 | 987700 | 282200 | 141100
44 | 1 | Dakata; 70MVAr, 33kV Fixed Shunt Capacitor project | 2905000 | 2033500 | 581000 | 290500
45 | 1 | Dan Agundi; 85MVAr, 33kV Fixed Shunt Capacitor project | 3527500 | 2469250 | 705500 | 352750
46 | 1 | Dutse; 10MVAr, 33kV Fixed Shunt Capacitor project | 415000 | 290500 | 83000 | 41500
47 | 1 | Kankia; 15MVAr, 33kV Fixed Shunt Capacitor project | 622500 | 435750 | 124500 | 62250
2 | 2 | Osogbo SVC; 330kV, +60MVAr, -75MVAr | 5602500 | 3921750 | 1120500 | 560250
5 | 2 | Ikeja 50MVAr, 132kV Fixed Shunt Capacitor | 2075000 | 1452500 | 415000 | 207500
6 | 2 | Papalanto 50MVAr, 132kV Fixed Shunt Capacitor | 2075000 | 1452500 | 415000 | 207500
7 | 2 | Akoka 50MVAr; 132kV Fixed Shunt Capacitor | 2075000 | 1452500 | 415000 | 207500
8 | 2 | Alausa 75MVAr; 132kV Fixed Shunt Capacitor | 3112500 | 2178750 | 622500 | 311250
9 | 2 | Meryland 60MVAr; 132kV Fixed Shunt Capacitor | 2490000 | 1743000 | 498000 | 249000
10 | 2 | Ogba 50MVAr; 132kV Fixed Shunt Capacitor | 2075000 | 1452500 | 415000 | 207500
11 | 2 | Otta 50MVAr; 132kV Fixed Shunt Capacitor | 2075000 | 1452500 | 415000 | 207500
12 | 2 | Oworosoki 50MVAr; 132kV Fixed Shunt Capacitor | 2075000 | 1452500 | 415000 | 207500
13 | 2 | Old Abeokuta 50MVAr; 132kV Fixed Shunt Capacitor | 2075000 | 1452500 | 415000 | 207500
14 | 2 | Oke_Aro 75MVAr; 132kV Fixed Shunt Capacitor | 3112500 | 2178750 | 622500 | 311250
15 | 2 | Maryland 40MVAr; 33kV Fixed Shunt Capacitor | 1660000 | 1162000 | 332000 | 166000
16 | 2 | Ikorodu 20MVAr; 33kV Fixed Shunt Capacitor | 830000 | 581000 | 166000 | 83000
17 | 2 | Ilupeju 50MVAr, 11kV Fixed Shunt Capacitor | 2075000 | 1452500 | 415000 | 207500
18 | 2 | Itire 20MVAr; 11kV Fixed Shunt Capacitor | 830000 | 581000 | 166000 | 83000
23 | 2 | Abeokuta Old;10MVAr, 33kV Fixed Shunt Capacitor | 415000 | 290500 | 83000 | 41500
25 | 2 | Omuaran; 30MVAr, 33kV Fixed Shunt Capacitor | 1245000 | 871500 | 249000 | 124500
55 | 2 | IFE 1; 20MVAr, 132kV Fixed Shunt Capacitor | 830000 | 581000 | 166000 | 83000
58 | 2 | OSOGBO 1; 10MVAr, 132kV Fixed Shunt Capacitor | 415000 | 290500 | 83000 | 41500
1 | 3 | Gombe SVC; 330kV, +115MVAr, -168MVAr (OR SVC with total size of +250MVAr,- 100MVAr ) | 11744500 | 8221150 | 2348900 | 1174450
48 | 3 | Bauchi;83MVAr, 132kV Fixed Shunt Capacitor | 3444500 | 2411150 | 688900 | 344450
49 | 3 | Bauchi; 15MVAr, 33kV Fixed Shunt Capacitor | 622500 | 435750 | 124500 | 62250
50 | 3 | Jalingo; 10MVAr, 330kV Shunt Reactor project | 415000 | 290500 | 83000 | 41500
57 | 3 | JOS 3; 270MVAr, 330kV Fixed Shunt Capacitor | 11205000 | 7843500 | 2241000 | 1120500
61 | 3 | Biu; 20MVAr, 132kV Fixed Shunt Capacitor | 830000 | 581000 | 166000 | 83000
62 | 3 | Damboa; 20MVAr, 132kV Fixed Shunt Capacitor | 830000 | 581000 | 166000 | 83000
35 | 4 | Delta; 95MVAr, 132kV Fixed Shunt Capacitor | 3942500 | 2759750 | 788500 | 394250
36 | 4 | Ukpilla; 10MVAr, 132kV Fixed Shunt Capacitor project | 415000 | 290500 | 83000 | 41500
37 | 4 | Effurun; 55MVAr, 132kV Fixed Shunt Capacitor project | 2282500 | 1597750 | 456500 | 228250
38 | 4 | Irrua; 30MVAr, 33kV Fixed Shunt Capacitor project | 1245000 | 871500 | 249000 | 124500
39 | 4 | Effurun, 50MVAr, 33kV Fixed Shunt Capacitor project | 2075000 | 1452500 | 415000 | 207500
51 | 4 | Abakaliki; 50MVAr, 132kV Fixed Shunt Capacitor | 2075000 | 1452500 | 415000 | 207500
52 | 4 | Yandev; 60MVAr, 132kV Fixed Shunt Capacitor | 2490000 | 1743000 | 498000 | 249000
53 | 4 | MAKURDI_3; 200MVAr, 330kV Fixed Shunt Capacitor | 8300000 | 5810000 | 1660000 | 830000
54 | 4 | ALIADE_3; 70MVAr, 330kV Fixed Shunt Capacitor | 2905000 | 2033500 | 581000 | 290500
59 | 4 | Nsukka; 5MVAr, 33kV Fixed Shunt Capacitor | 207500 | 145250 | 41500 | 20750
63 | 4 | Awka; 30MVAr, 132kV Fixed Shunt Capacitor | 1245000 | 871500 | 249000 | 124500
3 | 5 | Katempe SVC; 330kV +100MVAr, -75MVAr | 7262500 | 5083750 | 1452500 | 726250
19 | 5 | Akure 70MVAr, 132kV Fixed Shunt Capacitor | 2905000 | 2033500 | 581000 | 290500
20 | 5 | Ife 20MVAr, 132kV Fixed Shunt Capacitor | 830000 | 581000 | 166000 | 83000
21 | 5 | Ondo1; 10MVAr, 132kV Fixed Shunt Capacitor | 415000 | 290500 | 83000 | 41500
22 | 5 | Ondo2 40MVAr, 33kV Fixed Shunt Capacitor | 1660000 | 1162000 | 332000 | 166000
24 | 5 | Akure; 20MVAr, 33kV Fixed Shunt Capacitor | 830000 | 581000 | 166000 | 83000
26 | 5 | Apo; 60MVAr, 132kV Fixed Shunt Capacitor | 2490000 | 1743000 | 498000 | 249000
28 | 5 | Central Area; 20MVAr, 132kV Fixed Shunt Capacitor | 830000 | 581000 | 166000 | 83000
29 | 5 | Keffi;25MVAr, 132kV Fixed Shunt Capacitor | 1037500 | 726250 | 207500 | 103750
31 | 5 | Katampe; 50MVAr, 330kV Fixed Shunt Capacitor | 2075000 | 1452500 | 415000 | 207500
32 | 5 | Akwanga; 20MVAr, 33kV Fixed Shunt Capacitor project | 830000 | 581000 | 166000 | 83000
33 | 5 | Gwagwalada; 50MVAr,33kV Fixed Shunt Capacitor project | 2075000 | 1452500 | 415000 | 207500
56 | 5 | KATAMPE 3; 150MVAr, 330kV Fixed Shunt Capacitor | 6225000 | 4357500 | 1245000 | 622500
60 | 5 | Apo; 20MVAr, 132kV Fixed Shunt Capacitor | 830000 | 581000 | 166000 | 83000
64 |  | 330Kv Shunt Reactors 75MVAR (5 no.) | 15562500 | 10893750 | 3112500 | 1556250
65 |  | 330Kv Shunt Reactors 50MVAR (2no.) | 4150000 | 2905000 | 830000 | 415000
|  | Total | 165170000 | 115619000 | 33034000 | 16517000

## 10GW FUND UT. FINAL - SUMMARY
PACKAGE 2: NEW PROJECTS FOR 10GW NETWORK - FUND UTILIZATION IN US$
No. | Project Titles | Estimated Total Project Costs in US$ | 2015 | 2016 | 2017 | 2018
1 | 2x150MVA, 330/132kV Lafia and Associated 132kV + line bay turn in and out of Makurdi - Jos 330kV line | 23837708.9311 | 16686396.2518 | 4767541.7862 | 2383770.8931
2 | 2nd Ajaokuta - Lokoja – Gwagwalada 330 kV double circuit line (260km) - QUAD conductor+ line bay extensions. | 80837500 | 56586250 | 16167500 | 8083750
3 | 2nd Gwagwalada – Shiroro/ Katampe 330 kV double circuit line (40km) + line bay extensions.. | 14500000 | 10150000 | 2900000 | 1450000
4 | 2nd Ugwuaji - Aliade – Makurdi - Jos 330 kV double circuit line (490km) - Quad Conductor + line bay extensions. | 177625000 | 124337500 | 35525000 | 17762500
5 | 2nd Jos – Bauchi - Gombe 330 kV DC line(264KM) between + line bay extension &330/132KV S/S @ Bauchi. | 95700000 | 66990000 | 19140000 | 9570000
6 | 2 x 150MVA, 330/132kV + 2 x 60MVA 132/33kV substations at Bauchi with 2 x 330kV and 4 x 132kV line bays | 32700000 | 22890000 | 6540000 | 3270000
7 | 2nd 330 kV single circuit line through Gombe & Damaturu - 135km | 48937500 | 34256250 | 9787500 | 4893750
8 | 2x150MVA, 330/132kV at Jalingo and Associated 132kV line bays. | 23837708.9311 | 16686396.2518 | 4767541.7862 | 2383770.8931
9 | Birnin Kebbi - Sokoto D.C 330kV line (140km) | 50750000 | 35525000 | 10150000 | 5075000
10 | 2x150MVA, 330/132kV at Sokoto andAssociated 132Kv . | 23837708.9311 | 16686396.2518 | 4767541.7862 | 2383770.8931
11 | 2nd Kainji - Birnin Kebbi 330/132kV DC Transmission Line (310Km) + 2 Line bay Extension | 112375000 | 78662500 | 22475000 | 11237500
12 | Sokoto – Tmafara - Gusau - Katsina 330 kV double circuit line (340KM) | 123250000 | 86275000 | 24650000 | 12325000
13 | 2x150MVA, 330/132kV at Gusau and Associated 132kV | 23837708.9311 | 16686396.2518 | 4767541.7862 | 2383770.8931
14 | Akure-Ondo 132kV DC line + line bay extensions. (50 km) | 12031250 | 8421875 | 2406250 | 1203125
15 | Osogbo-Ilesha 132kV QUAD line(40km). | 15400000 | 10780000 | 3080000 | 1540000
16 | Ilesha Tee - Ife 132kV dc line (20km) | 4812500 | 3368750 | 962500 | 481250
17 | Ife - Ondo 132kV dc line (60km) | 14437500 | 10106250 | 2887500 | 1443750
18 | 2x150MVA 330/132KV + 2 x 60MVA 132/33kV Transformer capacity at Ogijo, Lagos and turn-in-out of Benin-Egbin-Ikeja West 330kv DC at Ogijo | 37745000 | 26421500 | 7549000 | 3774500
19 | 132kV D.C Line (20kM) from Ojigo - MFM | 4812500 | 3368750 | 962500 | 481250
20 | 2X60MVA S/S @ MFM | 9700000 | 6790000 | 1940000 | 970000
21 | 2x150MVA, 330/132kV + 2x60MVA, 132/33kV substation at Epe and Associated 6no 33kV feeders. | 32700000 | 22890000 | 6540000 | 3270000
22 | 50km 132kV D.C line to Ibeju | 12031250 | 8421875 | 2406250 | 1203125
23 | 2x60MVA, 132/33kV substation at Ibeju Lekki and 2x132kV line bays extension at Epe | 9700000 | 6790000 | 1940000 | 970000
24 | 2 x 150MVA, 330/132kV substation at Ado Ekiti + 2 x 60MVA 132/33kV Transformers. | 32700000 | 22890000 | 6540000 | 3270000
25 | Akure - Ado Ekiti 330kV D.C transmission line (80km) | 29000000 | 20300000 | 5800000 | 2900000
26 | Arigbajo - Agbara 330kV D.C transmission line (40km) | 14500000 | 10150000 | 2900000 | 1450000
27 | 2x150MVA, 330/132kV substation at New Agbara, with 2x330kV and 4x132kV line bays. | 28475000 | 19932500 | 5695000 | 2847500
28 | New Agbara - Agbara -Badagry 132kV D/C transmission line (70km). | 16843750 | 11790625 | 3368750 | 1684375
29 | 2X60MVA, 132/33kV substation at Badagry and 2x132kV line bays extension at Agbara. | 9700000 | 6790000 | 1940000 | 970000
30 | Arigbajo - New Abeokuta 132kV DC Transmission Line (45km) | 11057767 | 7740436.9 | 2211553.4 | 1105776.7
31 | Convert Akangba -Amuwo -Ojo 132kV DC transmission line DC ACCC conductor(15km). | 3606250 | 2524375 | 721250 | 360625
32 | Convert existing Oshogbo - Offa (50km) SC (Hyena)- Offa-Ganmo(50km) DC using existing ROW with ACCC conductor | 12031250 | 8421875 | 2406250 | 1203125
33 | Olorunsogo - Arigbajo 330 KV QUAD Transmission line (15km) | 8700000 | 6090000 | 1740000 | 870000
34 | IkjW/Osogbo 330KV DC turn in-out 15km @ Arigbajo + Ogijo - Arigbajo DC Transmission line (40km). | 19937500 | 13956250 | 3987500 | 1993750
35 | Ugwuaji - Abakaliki 330KV DC Transmission line (85km) | 30812500 | 21568750 | 6162500 | 3081250
36 | 2 x 150MVA 330/132KV + 2 x 60MVA, 132/33kv Substation @Abakaliki. | 32700000 | 22890000 | 6540000 | 3270000
37 | Ugwaji - Onitsha turn - out @ Awka (2km) | 725000 | 507500 | 145000 | 72500
38 | 2 x 150MVA, 330/132kV substation at Awka + 2 x 60MVA 132/33kV Transformers | 32700000 | 22890000 | 6540000 | 3270000
39 | Reconductoring of Afam-Port Harcourt 132kV line | 7937500 | 5556250 | 1587500 | 793750
40 | Ughelli - Efurrun – Benin 330 kV DC circuits (96km) | 34800000 | 24360000 | 6960000 | 3480000
41 | 2x150MVA 330/132KV, 2x60MVA 132/33KV S/S at Efurrun + line bay extensions | 32700000 | 22890000 | 6540000 | 3270000
42 | Sapele - Amukpe 132KV DC Transmission line (40km) | 9625000 | 6737500 | 1925000 | 962500
43 | 2x150MVA at Sapele | 23000000 | 16100000 | 4600000 | 2300000
44 | Onitsha - Ugwuaji 330 kV double circuit line Bison Conductor (95km)+ line bay extensions at Onitsha and Ugwuaji. | 34437500 | 24106250 | 6887500 | 3443750
45 | Ugwuaji - Ajaokuta – 330 kV double circuit line QUAD Conductor (180km)+ line bay extensions. | 104400000 | 73080000 | 20880000 | 10440000
46 | Ajaokuta - Akure – 330 kV double circuit line QUAD Conductor (200km)+ line bay extensions. | 116000000 | 81200000 | 23200000 | 11600000
47 | Omotosho -Akure 330kV DC Transmission line QUAD Conductor(80km)+ line Bays Extension | 46400000 | 32480000 | 9280000 | 4640000
48 | Akure – Oshogbo 330 kV double circuit line QUAD Conductor (96km)+ line bay extensions. | 55680000 | 38976000 | 11136000 | 5568000
49 | Gwagwalada - Abaji 132KV DC Transmission Line + 2 x 60MVA 132/33kV Substation at Abaji + 2 Line Bay Extension | 36125000 | 25287500 | 7225000 | 3612500
50 | Kainji-Kaima-Kishi-Shaki 132kV DC Transmision Line(180km) | 43312500 | 30318750 | 8662500 | 4331250
51 | 2 x 60MVA 132/33kV Substations at Kaima & Kishi + 4 Bay Extensions | 9700000 | 6790000 | 1940000 | 970000
52 | 2nd Benin - Omotosho 330KV QUAD Trx Line (125km). | 72500000 | 50750000 | 14500000 | 7250000
53 | 5km 330kV DC Tee-off to Zaria from the on-going Kaduna - Kano 330kV DC line | 1812500 | 1268750 | 362500 | 181250
54 | 2x150MVA 330/132kV Substation at Zaria, 2 no. 330kV line bays and 4 no. outgoing 132kV feeders | 23000000 | 16100000 | 4600000 | 2300000
55 | Power transformers for Grid reinforcement, 132/33kV 60MVA - 21nos, 330/132kV 150MVA 14nos and 300MVA 16nos | 149706840 | 149706840
| Total (Transmission + Substation) | 2070021692.7245 | 1493927236.9072 | 384062970.5449 | 192031485.2725
| Reactive compensation projects | 165170000 | 115619000 | 33034000 | 16517000
Grand Total project cost for 10GW |  | 2235191692.7245 | 1609546236.9072 | 417096970.5449 | 208548485.2725
Note on B52: kj-fujii: No 132kV line length is given, therefore impossible to evaluate the cost provided by TCN.